## Usage_MWh
USAGE MWh |  | FY22 | FY23 | FY24 | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | Base
Dual fuel | MWh | 5.2 | 5.2 | 5.2 | 5.2 | 5.3 | 5.3 | 5.4 | 5.4 | 5.5 | 5.5 | 14.6kWh/day
Electrified House | MWh | 6.5 | 6.5 | 6.5 | 6.6 | 6.7 | 6.7 | 6.8 | 6.9 | 6.9 | 7.0 | 17.9kWh/day
Electrified + EV | MWh | 6.5 | 6.5 | 6.5 | 6.6 | 6.6 | 6.6 | 6.6 | 6.7 | 6.7 | 6.7 | 17.9kWh/day + consumption per EV
Dual fuel + PV | MWh | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 4.4kWh/day
Electrified Household + PV | MWh | 3.0 | 3.0 | 3.0 | 3.0 | 3.0 | 3.0 | 3.1 | 3.1 | 3.1 | 3.2 | 8.1kWh/day
Electrified Household + EV + PV | MWh | 3.0 | 3.0 | 3.0 | 3.0 | 3.0 | 3.0 | 3.1 | 3.1 | 3.1 | 3.2 | 8.1kWh/day + consumption per EV
PV Profile (approx.) | MWh | -3.6 | -3.6 | -3.6 | -3.6 | -3.7 | -3.7 | -3.8 | -3.8 | -3.9 | -3.9 | 9.6kWh/day
EV only | MWh | 1.2 | 1.2 | 1.6 | 1.8 | 1.8 | 1.8 | 1.9 | 2.0 | 2.0 | 2.0 | EV usage

## Equipment_Costs
Component | Rationale for upfront cost
EVs | • Included a $1500 cost p.a. over 10 years based on EVs being more expensive to acquire. • Cost parity is expected by 20301
Solar panels & batteries | • Included a $500 cost p.a. over 10 years based on a 4kW system Canstar comparison at $4.3k in VIC rounded for contingency (average inverter life 10-15 years) • Savings can also be realised without solar or batteries
Wiring costs | • Included a $1000 cost p.a. over 10 years based on a $10k cost, conservative as studies below show they are highly house specific • GHD2 report found in most cases, multi-phase connection only required with EVs, and an average $300 of additional wiring costs incurred • GHD report also states the cost of gas reticulation for new homes exceeds the cost of larger electrical wiring required to support an all-electric home.
Gas vs electric appliances | • Victorian Gas Substitution Roadmap projects relatively similar installed costs for gas and electric appliances (see RHS) • GHD report2 highlights uniqueness and range based on house type and appliance combination • Our modelling assumes end of life replacement